Little Friends Early Learning Center

Emergency Procedures Guide

Table of Contents

Emergency phone numbers	1

Non-emergency phone numbers	2

Directions	3

Response to an emergency	4

Fire, smoke, gas odor, carbon monoxide	5

Chemical spill	6

Sudden weather, tornado, micro-burst	7

Stranger danger	8

Lockdown Procedures…………………………………………………………  9

Power outage	10

Silence fire panel, restart heater	11

Water main turn-off	12

Generator	13

Propane heater	14

Neighbors to contact	15

Evacuation (out building, garage)	16

Evacuation (walking distance)	17

Evacuation (off site)	18

Little Friends

Early Learning Center

Emergency Phone Numbers

Emergency: 911

Poison Control: 1-800-222-1222

Central Maine Power (Power Outage): 1-800-696-1000

CMP Account Number: 514-038-2038-014

TYCO SimplexGrinnell Fire Protection: (207) 842-6880

Code Word: Friends

Account Number: 207 2899

Customer Number: 656-789

Little Friends:  865-1169

Little Friends Cell : 751-0758

Non-Emergency Phone Numbers

Morse Street School (Grades K – 2): 865-6361

Mast Landing School (Grades 3-5): 865-4561

Freeport Middle School (Grades 6-8): 865-6051

Freeport High School (Grades 9-12): 865-4706

Durham Elementary School (Grades K-8): 353-9333

Downeast Energy: 729-9921

Non-Emergency Freeport Police: 865-4800

State License Number: 376581

Community Resources

Freeport Community Services:  865-3985

DHHS Community Services Programs: 1-800-606-0215

Directions

Take Exit 22 from Route 295, north or southbound

At end of ramp (northbound) take RIGHT

At end of ramp (southbound) take LEFT

Continue approximately .3 mile

Turn RIGHT onto Route 125N/136N/Durham Road

Continue approximately .7 mile, following signs to Route 125N

Turn RIGHT onto Route 125N (where it splits from Route 136N)

Continue for 3.2 miles

Little Friends, a grey house with green shutters, will be on the right

Day Care entrance is located at the back of the home

Staff Response to Any Emergency

- Establish one teacher to take charge

- Remaining staff should care for children/take attendance

- Call 911 if necessary

- Call Jane (Owner/Director)

- Take-charge teacher retains sign-in log and Emergency Contact folder

- Take “Go Bag”

Follow directions for specific emergency

Follow-up to Any Emergency

- Owner/Director will email information to families explaining situation

- Text all parents of children at center

Fire, Smoke, Gas Odor, Carbon Monoxide (detector activated)

- Notify staff and children to evacuate building

- Phone 911

- Bring cell phones

- Relocate to clubhouse in fair weather

- Relocate to garage in adverse weather (see evacuation to garage procedures)

- Wait for Emergency Personnel Directives or clearance to reenter building

- If necessary, relocate to walking-distance site or off-site (see evacuation procedures)

- Notify parents via text alert

Chemical Spill

- Follow response to any emergency

- Relocate all children to inside of building

- Close all windows and doors

- Wait for Incident Commander notification

- Incident Commander will recommend shelter or give evacuation orders

- Follow Incident Commander recommendations

- Contact parents via text alert

Sudden Weather, Tornado, Micro-Burst

- Bring all persons inside building

- Close doors, windows

- Monitor weather on radio, television

- If tornado (or severe weather system) spotted near Little Friends area, move children and staff to Back/Safe Room and/or stairwell.

- Take-charge person: gather first-aid kit, cell phones, flashlights

- Review and make use of safe areas if necessary:

Under tables

Away from windows and large rooms

- Text parents

- Remain in safe area until warning expires

Stranger Danger

- Attempt to notify others in building with a code phrase:

- Take-Charge person will approach intruder

- Remaining staff will gather children in group setting (club house/classrooms)

- Take-Charge person will politely greet stranger and:

  - Introduce herself

  - Ask stranger the purpose of his/her visit

  - Inform stranger that all visitors must schedule an appointment

  - Ask stranger for identification

If Stranger Refuses to Leave

- Warn intruder that police will be called

- Call 911/Pull Fire Alarm

- Use code to inform other staff to call 911 or Pull Fire Alarm

- If children are outdoors, initiate lockdown in clubhouse

- If children are indoors, initiate inside lockdown

Lockdown Procedures, Indoors

- All children and staff to one room within house or stairwell

- Lock all doors, cover windows

- Keep children away from doors and windows

- Wait for Emergency Personnel; follow their directions

Lockdown Procedures, Clubhouse

- Follow same steps as above

Power Outage

- Silence fire panel (see panel directions)

- Activate emergency lighting if needed

- Call Central Maine Power to report and/or get update

- Generator will automatically turn on/off

Silence Fire Panel

- Tap emergency light on wall opposite panel

- Open panel

- Press disable buttons for Zone 1 and Zone 2 (top left)

- Press silence button (lower right)

- Call Simplex Grinell to notify of non-emergency

- When power returns, press buttons for Zone 1 and Zone 2, then press Reset Button (lower right)

- Turn off emergency lights

Restart Heater

- Heater is located in furnace room (within closet in toddler room)

- Hold down Red Button to restart (if popped up). Red button is located at base of heater.

- Call Downeast Energy at 729-9921

Water Main Turn-off

- Go to furnace room (located in toddler-room closet) to access circuit breaker

- Open circuit-breaker box, on wall to the right

- Switch off circuits 12 and 14 (pull tabs to the right)

- Switches 12 and 14 are labeled “well pump”

Generator

Generac Auto turn on generator.  Generator will automatically turn on and off as needed.

Propane Heater

- Connect heater to propane tank with supplied hose (remember left-hand threads)

- Turn on tank

- Turn heater on low

- Push igniter button located at base of unit starts

Neighbors to Contact

- The following neighbors are available to provide assistance at any time:

- Eric Welzel, Cell phone (207) 751-4323

- Jennifer Welzel, Cell phone: (207) 522-2551

Evacuation (Out-Building/Garage)

- Follow direct route up landscaped steps to garage

- If route is unavailable, follow secondary route to left of house

- Take-charge person immediately takes children’s and staff attendance

- Access emergency lights if needed

- Utilize “emergency bin” items if necessary

- Turn on propane heater if needed (see specific instructions)

The alternate gathering site on premises will be the clubhouse

Evacuation (Walking Distance)

- Staff and children will be relocated to Doherty’s North Freeport Store:

130 Wardtown Road, Freeport, Maine 04032; 865-4429 (located approximately .1 mile from Little Friends)

- Take-charge person assigns children to walk in groups with staff

- Children will walk or be carried, if necessary, to store

- Take-charge person will take attendance upon reaching the site

- Parents will be notified via text alert

Evacuation (Town of Freeport)

- In extreme emergency situations, an off-site evacuation center may be necessary

- The in-town evacuation site, L.L. Bean, located on Main Street, Freeport, Maine 04032

- Take-charge person will assign groups for transport to site

- Children will be transported in staff vehicles to in-town location

- Take-charge person will take attendance at relocation site

- Parents will be notified via text alert